## VuSitu_2023-08-07_11-25-42_SeaC
Location Properties
Location Name = MB5a
Location ID = 0625c6d0-ccb3-410b-9357-50e41be8d8e8
Latitude = 46.88833 °
Longitude = -91.0527833 °
Report Properties
Start Time = 2023-08-07 11:25:42
Time Offset = -05:00:00
Duration = 00:00:58
Readings = 59
Instrument Properties
Device Model = Aqua TROLL 600
Device SN = 804550
Instrument Properties
Device Model = PowerPack
Device SN = 868976
Date Time | Turbidity (NTU) (803671) | BGA-PC Fluorescence (RFU) (797015) | Actual Conductivity (µS/cm) (803397) | Specific Conductivity (µS/cm) (803397) | Salinity (PSU) (803397) | Density (g/cm³) (803397) | Total Dissolved Solids (ppt) (803397) | Chlorophyll-a Fluorescence (RFU) (804408) | Temperature (°C) (804550) | Pressure (psi) (785112) | Depth (ft) (785112) | Surface Elevation (m) (785112) | External Voltage (V) (804550) | Barometric Pressure (mbar) (868976) | Latitude (°) | Longitude (°) | Marked
2023-08-07 11:26 | 11.2849 | 4.3961 | 62.1952 | 68.8203 | 0.031871 | 0.99824 | 0.044733 | 0.034755 | 20.0356 | 0.065392 | 0.779 | 0.045975 | 1.0744 | 991.6565 | 46.9051 | -91.036
2023-08-07 11:26 | 11.2739 | 4.3953 | 65.5472 | 72.5293 | 0.033588 | 0.99824 | 0.047144 | 0.03382 | 20.0354 | 0.064053 | 0.77611 | 0.045034 | 1.0733 | 991.6575 | 46.9051 | -91.036
2023-08-07 11:26 | 11.263 | 4.3944 | 68.8992 | 76.2384 | 0.035306 | 0.99824 | 0.049555 | 0.032884 | 20.0352 | 0.062714 | 0.77321 | 0.044092 | 1.0723 | 991.6585 | 46.9051 | -91.036
2023-08-07 11:26 | 10.5891 | 4.1405 | 84.3922 | 94.6771 | 0.044245 | 0.9984 | 0.062215 | 0.031155 | 19.3518 | 0.065959 | 0.82197 | 0.059091 | 1.0646 | 991.6589 | 46.9051 | -91.036
2023-08-07 11:26 | 10.5497 | 4.1276 | 86.6392 | 97.2319 | 0.045449 | 0.99841 | 0.063911 | 0.031061 | 19.3156 | 0.065774 | 0.82386 | 0.059634 | 1.0638 | 991.6595 | 46.9051 | -91.036
2023-08-07 11:26 | 10.5102 | 4.1147 | 88.8862 | 99.7868 | 0.046654 | 0.99842 | 0.065607 | 0.030967 | 19.2793 | 0.06559 | 0.82574 | 0.060177 | 1.063 | 991.6602 | 46.9051 | -91.036
2023-08-07 11:26 | 10.2783 | 4.0982 | 88.5755 | 99.9536 | 0.04676 | 0.99844 | 0.065042 | 0.068551 | 19.1183 | 0.20936 | 1.1157 | 0.14856 | 1.0632 | 991.6597 | 46.9051 | -91.036
2023-08-07 11:26 | 10.2508 | 4.0917 | 88.9599 | 100.4351 | 0.046994 | 0.99844 | 0.065334 | 0.070526 | 19.0945 | 0.21718 | 1.1324 | 0.15365 | 1.063 | 991.6597 | 46.9051 | -91.036
2023-08-07 11:26 | 10.2232 | 4.0852 | 89.3442 | 100.9165 | 0.047227 | 0.99845 | 0.065625 | 0.072501 | 19.0708 | 0.225 | 1.1491 | 0.15874 | 1.0629 | 991.6597 | 46.9051 | -91.036
2023-08-07 11:26 | 10.0856 | 4.0734 | 89.3273 | 101.0486 | 0.04729 | 0.99846 | 0.065699 | 0.036612 | 18.9353 | 0.39674 | 1.5418 | 0.27927 | 1.0473 | 991.7034 | 46.9051 | -91.036
2023-08-07 11:26 | 10.0725 | 4.0722 | 89.3561 | 101.101 | 0.047315 | 0.99846 | 0.065718 | 0.035583 | 18.924 | 0.40914 | 1.5693 | 0.28769 | 1.0464 | 991.7057 | 46.9051 | -91.036
2023-08-07 11:26 | 10.0594 | 4.0711 | 89.3848 | 101.1535 | 0.047341 | 0.99846 | 0.065736 | 0.034554 | 18.9127 | 0.42155 | 1.5968 | 0.29611 | 1.0456 | 991.7081 | 46.9051 | -91.036
2023-08-07 11:26 | 10.0193 | 4.154 | 89.4638 | 101.4146 | 0.047466 | 0.99849 | 0.065987 | 0.033122 | 18.8324 | 0.77749 | 2.4199 | 0.54663 | 1.0296 | 991.6997 | 46.9051 | -91.036
2023-08-07 11:26 | 10.0136 | 4.1581 | 89.4742 | 101.4398 | 0.047478 | 0.99849 | 0.066007 | 0.03229 | 18.8246 | 0.80053 | 2.4731 | 0.56283 | 1.0284 | 991.7002 | 46.9051 | -91.036
2023-08-07 11:26 | 10.0079 | 4.1622 | 89.4846 | 101.4649 | 0.04749 | 0.99849 | 0.066027 | 0.031457 | 18.8169 | 0.82358 | 2.5262 | 0.57903 | 1.0272 | 991.7007 | 46.9051 | -91.036
2023-08-07 11:26 | 9.9474 | 4.3158 | 89.569 | 101.7833 | 0.047643 | 0.9985 | 0.066167 | 0.095649 | 18.7618 | 0.89491 | 2.6906 | 0.62919 | 1.0274 | 991.7175 | 46.9051 | -91.036
2023-08-07 11:26 | 9.943 | 4.3258 | 89.5758 | 101.8071 | 0.047655 | 0.9985 | 0.06618 | 0.099036 | 18.7569 | 0.90702 | 2.7185 | 0.6377 | 1.027 | 991.7182 | 46.9051 | -91.036
2023-08-07 11:26 | 9.9386 | 4.3359 | 89.5826 | 101.831 | 0.047666 | 0.9985 | 0.066194 | 0.10242 | 18.7519 | 0.91912 | 2.7464 | 0.64621 | 1.0267 | 991.7189 | 46.9051 | -91.036
2023-08-07 11:26 | 9.9707 | 4.3754 | 89.6252 | 101.9336 | 0.047716 | 0.99851 | 0.066259 | 0.22862 | 18.683 | 0.63 | 2.081 | 0.59333 | 1.027 | 991.684 | 46.9051 | -91.036
2023-08-07 11:26 | 9.9709 | 4.3811 | 89.6295 | 101.9468 | 0.047722 | 0.99851 | 0.066266 | 0.23677 | 18.6779 | 0.61667 | 2.0503 | 0.59196 | 1.027 | 991.6826 | 46.9051 | -91.036
2023-08-07 11:26 | 9.9712 | 4.3868 | 89.6339 | 101.9599 | 0.047728 | 0.99851 | 0.066273 | 0.24492 | 18.6729 | 0.60335 | 2.0196 | 0.59058 | 1.027 | 991.6811 | 46.9051 | -91.036
2023-08-07 11:26 | 9.9933 | 4.4426 | 89.7151 | 102.1047 | 0.047798 | 0.99851 | 0.066368 | 0.066276 | 18.6556 | 1.6028 | 4.3251 | 1.1436 | 1.0349 | 991.6542 | 46.9051 | -91.036
2023-08-07 11:26 | 9.9951 | 4.4467 | 89.7205 | 102.1151 | 0.047803 | 0.99851 | 0.066375 | 0.059689 | 18.653 | 1.6497 | 4.4331 | 1.1719 | 1.0353 | 991.652 | 46.9051 | -91.036
2023-08-07 11:26 | 9.9969 | 4.4507 | 89.7259 | 102.1256 | 0.047808 | 0.99851 | 0.066382 | 0.053102 | 18.6504 | 1.6965 | 4.5412 | 1.2003 | 1.0358 | 991.6498 | 46.9051 | -91.036
2023-08-07 11:26 | 10.0526 | 4.5694 | 89.6832 | 102.254 | 0.047869 | 0.99853 | 0.066465 | 0.20974 | 18.5643 | 3.0452 | 7.6524 | 2.1447 | 1.0199 | 991.668 | 46.9051 | -91.036
2023-08-07 11:26 | 10.0561 | 4.5772 | 89.6829 | 102.2644 | 0.047874 | 0.99853 | 0.066472 | 0.2143 | 18.5592 | 3.1399 | 7.8709 | 2.2079 | 1.0192 | 991.6684 | 46.9051 | -91.0359
2023-08-07 11:26 | 10.0596 | 4.5849 | 89.6825 | 102.2748 | 0.047879 | 0.99853 | 0.066479 | 0.21885 | 18.5541 | 3.2346 | 8.0894 | 2.2711 | 1.0185 | 991.6688 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.9316 | 4.5511 | 89.8703 | 102.6593 | 0.048064 | 0.99864 | 0.061917 | 0.32762 | 18.4779 | 5.6702 | 13.7043 | 3.9865 | 1.0184 | 991.678 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.9262 | 4.5521 | 89.8794 | 102.6828 | 0.048075 | 0.99865 | 0.061677 | 0.33688 | 18.4718 | 5.831 | 14.0751 | 4.0996 | 1.018 | 991.6789 | 46.9051 | -91.0359
2023-08-07 11:26 | 10.0112 | 4.6422 | 76.5226 | 91.9279 | 0.042812 | 0.99896 | 0.059107 | 0.37494 | 17.9503 | 6.7803 | 16.2598 | 4.767 | 1.018 | 991.6541 | 46.9051 | -91.0359
2023-08-07 11:26 | 10.0134 | 4.6466 | 75.7702 | 91.327 | 0.042518 | 0.99898 | 0.058867 | 0.37927 | 17.9191 | 6.8849 | 16.5007 | 4.8406 | 1.018 | 991.6528 | 46.9051 | -91.0359
2023-08-07 11:26 | 10.0155 | 4.651 | 75.0177 | 90.726 | 0.042224 | 0.999 | 0.058627 | 0.3836 | 17.888 | 6.9895 | 16.7417 | 4.9141 | 1.018 | 991.6516 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.8758 | 4.852 | 70.7555 | 89.1144 | 0.041381 | 0.99925 | 0.057714 | 0.32623 | 14.4336 | 8.0283 | 19.1284 | 5.6445 | 1.0256 | 991.6931 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.87 | 4.8654 | 70.2136 | 88.7806 | 0.041215 | 0.99927 | 0.057608 | 0.32376 | 14.227 | 8.1062 | 19.3075 | 5.6992 | 1.026 | 991.6948 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.8641 | 4.8788 | 69.6718 | 88.4468 | 0.041048 | 0.99929 | 0.057503 | 0.32129 | 14.0204 | 8.1841 | 19.4866 | 5.754 | 1.0264 | 991.6966 | 46.9051 | -91.0359
2023-08-07 11:26 | 10.0638 | 4.9174 | 67.3536 | 87.7333 | 0.040653 | 0.99953 | 0.057627 | 0.37822 | 12.9136 | 9.4604 | 22.4365 | 6.6513 | 1.0191 | 991.6894 | 46.9051 | -91.0359
2023-08-07 11:26 | 10.0718 | 4.9241 | 67.1345 | 87.6626 | 0.040614 | 0.99955 | 0.057615 | 0.3801 | 12.7738 | 9.5549 | 22.6547 | 6.7177 | 1.0188 | 991.6899 | 46.9051 | -91.0359
2023-08-07 11:26 | 10.0798 | 4.9307 | 66.9153 | 87.5919 | 0.040576 | 0.99957 | 0.057603 | 0.38197 | 12.6339 | 9.6494 | 22.8728 | 6.7842 | 1.0186 | 991.6904 | 46.9051 | -91.0359
2023-08-07 11:26 | 10.0878 | 4.9374 | 66.6961 | 87.5213 | 0.040537 | 0.99959 | 0.057591 | 0.38385 | 12.4941 | 9.7439 | 23.091 | 6.8507 | 1.0183 | 991.691 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.7078 | 5.1227 | 65.8019 | 88.9281 | 0.041145 | 0.99961 | 0.057868 | 0.47078 | 11.6429 | 9.6708 | 22.9224 | 6.7993 | 1.0021 | 991.6542 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.6925 | 5.1335 | 65.6945 | 88.9832 | 0.041166 | 0.99962 | 0.057885 | 0.4767 | 11.5684 | 9.6988 | 22.9872 | 6.819 | 1.0011 | 991.6522 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.6772 | 5.1444 | 65.5871 | 89.0383 | 0.041188 | 0.99962 | 0.057902 | 0.48262 | 11.4939 | 9.7268 | 23.0519 | 6.8387 | 1 | 991.65 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.6552 | 5.5548 | 65.7552 | 89.6762 | 0.041482 | 0.99966 | 0.058632 | 0.57362 | 11.0669 | 10.6321 | 25.1391 | 7.4751 | 0.96919 | 991.6853 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.6456 | 5.5798 | 65.7371 | 89.7387 | 0.04151 | 0.99966 | 0.058674 | 0.58022 | 11.0221 | 10.6783 | 25.2455 | 7.5076 | 0.96726 | 991.6862 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.636 | 5.6048 | 65.7191 | 89.8011 | 0.041538 | 0.99967 | 0.058717 | 0.58683 | 10.9774 | 10.7244 | 25.3518 | 7.54 | 0.96534 | 991.6871 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.9793 | 5.6239 | 65.5208 | 91.1167 | 0.04212 | 0.99971 | 0.059266 | 0.5693 | 10.7601 | 11.3754 | 26.854 | 7.9977 | 0.95737 | 991.6971 | 46.9051 | -91.0359
2023-08-07 11:26 | 9.9961 | 5.6335 | 65.5115 | 91.1984 | 0.042156 | 0.99971 | 0.059309 | 0.57041 | 10.7385 | 11.428 | 26.9754 | 8.0347 | 0.95631 | 991.6982 | 46.9051 | -91.0359
2023-08-07 11:26 | 10.0129 | 5.6432 | 65.5023 | 91.2801 | 0.042193 | 0.99972 | 0.059353 | 0.57152 | 10.7168 | 11.4806 | 27.0968 | 8.0717 | 0.95524 | 991.6995 | 46.9051 | -91.0359
2023-08-07 11:26 | 10.1889 | 5.9478 | 65.1799 | 91.4989 | 0.042275 | 0.99977 | 0.059351 | 0.56929 | 9.9997 | 13.3936 | 31.5131 | 9.4167 | 0.9399 | 991.7079 | 46.9051 | -91.0359
2023-08-07 11:27 | 10.205 | 5.9641 | 65.1587 | 91.5384 | 0.042292 | 0.99978 | 0.059362 | 0.56884 | 9.9577 | 13.5061 | 31.7728 | 9.4958 | 0.93894 | 991.7086 | 46.9051 | -91.0359
2023-08-07 11:27 | 10.2212 | 5.9803 | 65.1374 | 91.5779 | 0.042309 | 0.99978 | 0.059374 | 0.56839 | 9.9156 | 13.6187 | 32.0326 | 9.5749 | 0.93797 | 991.7092 | 46.9051 | -91.0359
2023-08-07 11:27 | 9.997 | 6.2251 | 63.542 | 91.1511 | 0.042038 | 0.99981 | 0.059229 | 0.72348 | 9.5389 | 14.6953 | 34.5154 | 10.3318 | 0.93009 | 991.6924 | 46.9051 | -91.0359
2023-08-07 11:27 | 9.9891 | 6.2442 | 63.453 | 91.1336 | 0.042025 | 0.99981 | 0.059222 | 0.73143 | 9.5044 | 14.7911 | 34.7363 | 10.3992 | 0.92936 | 991.6918 | 46.9051 | -91.0359
2023-08-07 11:27 | 9.9812 | 6.2633 | 63.3641 | 91.1162 | 0.042013 | 0.99981 | 0.059214 | 0.73939 | 9.4699 | 14.8869 | 34.9573 | 10.4665 | 0.92863 | 991.6911 | 46.9051 | -91.0359
2023-08-07 11:27 | 9.9733 | 6.2824 | 63.2752 | 91.0987 | 0.042001 | 0.99982 | 0.059207 | 0.74735 | 9.4353 | 14.9826 | 35.1782 | 10.5338 | 0.92789 | 991.6904 | 46.9051 | -91.0359
2023-08-07 11:27 | 10.1586 | 6.3061 | 62.6359 | 91.1394 | 0.041983 | 0.99984 | 0.059416 | 0.67996 | 8.6684 | 16.7118 | 39.1694 | 11.7496 | 0.92028 | 991.699 | 46.9051 | -91.0359
2023-08-07 11:27 | 10.1631 | 6.3129 | 62.5688 | 91.1324 | 0.041976 | 0.99985 | 0.059424 | 0.67998 | 8.6214 | 16.8231 | 39.4263 | 11.8278 | 0.91971 | 991.699 | 46.9051 | -91.0359
2023-08-07 11:27 | 10.1676 | 6.3196 | 62.5017 | 91.1253 | 0.041969 | 0.99985 | 0.059431 | 0.68 | 8.5743 | 16.9344 | 39.6832 | 11.9061 | 0.91915 | 991.6991 | 46.9051 | -91.0359
2023-08-07 11:27 | 10.3769 | 6.4175 | 62.0684 | 92.0474 | 0.042347 | 0.99989 | 0.059853 | 0.74328 | 8.24 | 17.5397 | 40.9871 | 12.3316 | 0.91925 | 991.6821 | 46.9051 | -91.0359